## Sheet1
TP 113-020 Rev M
CERTIFICATE OF ANALYSIS
|  | PCO2 / TCO2 CONDITIONING SOLUTION |  |  |  | Part Number 06857
| Lot Number | 22313017 |  |  |  | Exp Date | 2024-02-09 | 24 | 02 | 09
[6 empty] | Date of Manufacturing | 2022-11-09 | 22 | 11 | 09
|  |  | UDI# | (01)00385480068574(11)221109(17)240209(10)22313017
|  |  |  | Spec | Pass/Fail
|  |  | pH | 0.70 - 1.30 | Pass
This certifies that this product was manufactured and tested at Nova Biomedical Corporation, Waltham MA 02454 U.S.A in accordance with ISO 13485:2016 Medical Devices Quality Management Systems Requirements, Medical Device Single Audit Program (MDSAP), and conforms to the indicated test specifications. The following analytes are traceable to NIST SRM Materials: pH.
Note: Acceptance specifications for this part number are lot dependent and subject to change by the manufacturer.
Approval
QC Inspector
Title
2026-07-29
Date
Jansara