## Sheet1
TP 117-207 Rev.H
CERTIFICATE OF ANALYSIS
| Nova Cleaning Solution |  |  |  |  | Ref Number 11272
| Lot Number | 22319072 |  |  |  | Exp Date | 2023-11-15 | 23 | 11 | 15
[6 empty] | Date of Manufacture | 2022-11-15 | 22 | 11 | 15
|  |  | UDI# | (01)00385480112727(11)221115(17)231115(10)22319072
|  |  |  | Spec | Pass/Fail
|  |  | NaOCl | 1.21 - 1.51% | Pass
This certifies that this product was manufactured and tested at Nova Biomedical Corporation, Waltham MA 02454 U.S.A. in accordance with ISO 13485:2016 Medical Devices Quality Management Systems Requirements, Medical Device Single Audit Program (MDSAP), and conforms to the indicated test specifications. All listed analytes are traceable to NIST SRM Materials.
Note: Acceptance specifications for this part number are lot dependent and subject to change by the manufacturer.
Approval
QC Inspector
Title
2026-07-29
Date
Jansara