## Sheet1
TP 119-306 Rev J
CERTIFICATE OF ANALYSIS
Nova Glu/Lac Sensor Soaking Solution |  |  |  |  | Ref Number 13409
| Lot Number | 22348080 |  |  | Exp Date | 2023-12-14 | 23 | 12 | 14
[5 empty] | Date of Manufacture | 2022-12-14 | 22 | 12 | 14
|  | UDI# | (01)00385480134095(11)221214(17)231214(10)22348080
|  |  | Spec | Pass/Fail
|  | NaOCl | 0.43 - 0.73% | Pass
This certifies that this product was manufactured and tested at Nova Biomedical Corporation, Waltham MA 02454 U.S.A. in accordance with ISO 13485:2016 Medical Devices Quality Management Systems Requirements, Medical Device Single Audit Program (MDSAP), and conforms to the indicated test specifications. All listed analytes are traceable to NIST SRM Materials.
Note: Acceptance specifications for this part number are lot dependent and subject to change by the manufacturer.
Approval
QC Inspector
Title
2026-07-29
Date
Jansara